## Sheet1
Project | Date | Date Issue Closed | Rate Urgency | Component | Installation / Component | Task Carried Out By | Details
Merthyr House | 2018-03-07 | 2018-03-07 | Low | Monitoring | Installation | David | System online
Merthyr House | 2018-03-07 | 2018-03-22 | Low | Monitoring | Installation | David | Inverter 2 and consumption meter not showing on the monitoring platform
MES | 2017-12-06 | 2017-12-06 | Low | PV System | Installation | Natheera | System online
MES | 2017-12-18 | 2017-12-18 | Low | Meter | Installation | Natheera | Elster Meter installed and running
PEC Cape Town | 2017-02-06 | 2017-02-06 | Low | PV System | Installation |  | System online
PEC Cape Town | 2017-09-01 | 2017-09-01 | Low | Monitoring | Installation | David | Monitoring of system by Emergent Energy
PEC Cape Town | 2018-02-16 | 2018-02-18 | Low | Meter | Installation | Natheera | Export limitation deactivated
Skye Footwear | 2018-03-01 | 2018-03-22 | Low | Inverter | Installation | David | System online. Meter not online.
Skye Footwear | 2018-03-22 | 2018-04-06 | Low | Meter | Installation | David | Monitoring platform reading production as consumption. SolarEdge to update settings
Skye Footwear | 2018-03-30 | 2018-04-06 | High | Inverter | Component | Natheera | Faulty inverter. Inverter replaced
Skye Footwear | 2018-04-06 | 2018-04-11 | High | Inverter | Installation | Natheera | Earth leakage fault. Installer fixed fault
Skye Footwear | 2018-04-27 | 2018-05-03 | High | Inverter | Installation | Natheera | System offline. SolarEdge intervention
Skye Footwear | 2018-05-07 | 2018-05-07 | Low | Monitoring | Installation | Natheera | Activate export limitation
Skye Footwear | 2018-06-11 | 2018-06-11 | Low | Meter | Installation | Natheera | Deactivated export limitation
Skye Footwear | 2018-05-02 | 2018-05-04 | Low | Inverter | Installation | David | Cheking on system
Skye Footwear | 2018-05-31 | 2018-06-13 | Low | Meter | Installation | Natheera | CT's are not in the correct location. Client to provide SLD
Skye Footwear | 2018-06-13 | 2018-06-13 | Low | Meter | Instllation | Kene | Kene has investigated the electrical network and will provide a SLD based on his findings
Plantation Shutters | 2018-06-07 | 2018-06-07 | Low | PV System | Installation | Richard | System online
Plantation Shutters | 2018-08-01 |  | High | Optimizer | Component | Natheera | Faulty optimizers. SolarEdge to investigate
Milnerton Mall | 2017-12-13 | 2017-12-13 | Low | Monitoring | Installation | Tim | System online
Milnerton Mall | 2018-03-01 | 2018-03-13 | Low | Monitoring | Installation | Natheera | Detection of second meter. Task to be carried out by SolarEdge
Milnerton Mall | 2018-06-01 | 2018-06-01 | Low | Meter | Installation | Natheera | Investigation into client's meter arrangements
Milnerton Mall | 2018-06-19 | 2018-06-19 | Low | Meter | Installation | Natheera | Investigation into client's meter arrangements
Milnerton Mall | 2018-07-06 | 2018-07-06 | Low | Meter | Installation | Natheera | CoCT site visit to advise on possible additional POC
Milnerton Mall | 2018-07-11 | 2018-07-11 | Low | Meter | Installation | Natheera | Window cleaning quote inspection & investigation of POC in Spar
Milnerton Mall | 2018-08-22 |  | High | PV System | Installation | Natheera | Split PV system between meter room B meter and Spar's meter